Section 330.3030  Specifications

Specifications shall supplement the drawings to fully describe, except where fully indicated and described on the drawings, the materials, workmanship, the kind, sizes, capacities, finishes, and other characteristics of all materials, products, articles, and devices and shall include:

a)	Cover or title sheet.

b)	Index.

c)	Instructions to bidders.

d)	Bid form.

e)	Form of agreement.

f)	General conditions.

g)	Special conditions.

h)	Performance and payment bond forms.

i)	Sections describing materials and workmanship in detail for each class of work.

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)