Section 330.3390  Exit Lights and Directional Signs

Every building shall meet the following requirements:

a)	Exit and directional signs shall comply with the rules for Fire Prevention and Safety of the Office of the State Fire Marshal (41 Ill. Adm. Code 100).  (B)

b)	Every required exit shall have an exit sign readily visible, and additional directional signs shall be located as required to clearly identify the direction of travel to reach the nearest exit.  (B)

c)	All signs shall be properly illuminated at all times.  (B)

d)	All signs shall be on an emergency electrical system.  (B)

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)