Section 330.3430  Use of Fire Extinguishers, Evacuation Plan, and Fire Drills

a)	All personnel employed on the premises shall be properly instructed in the use of fire extinguishers.  (B)

b)	A written plan of evacuation shall be prepared, posted, and made familiar to all personnel employed on the premises.  (B)

c)	There shall be a minimum of six fire drills conducted annually (two on each shift) at irregular intervals.  The local fire authorities should be requested to assist periodically in these drills.  (B)

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)