Section 330.3910  Fire Protection

a)	In addition to these standards, the provisions of Fire Prevention and Safety (41 Ill. Adm. Code 100) of the Office of the State Fire Marshal shall apply to all existing facilities.  (A, B)

b)	Upon request by the Department, the Office of the State Fire Marshal shall make inspections for fire safety and compliance with these standards.  It shall call to the attention of the Department any violations of these standards which pertain to fire protection.  The Office of the State Fire Marshal shall be privileged to make as many subsequent visits as deemed necessary for assurance of compliance.

(Source:  Amended at 13 Ill. Reg. 6562, effective April 17, 1989)