Section 350.2410  Codes

Water supply, sewage disposal and plumbing systems shall comply with the all applicable State and local codes and ordinances.  (B)

(Source:  Amended at 13 Ill. Reg. 6040, effective April 17, 1989)