Section 350.3790  Administration and Public Areas

Accommodations (ramps, low thresholds, toilets, lavatories, and drinking fountains) for the physically handicapped (public, staff) shall be provided in administration and public areas, if these areas are located within the facility.

(Source:  Amended at 13 Ill. Reg. 6040, effective April 17, 1989)