Section 350.3840  Living, Dining, Activity Rooms

a)	Provide a minimum of one dining room with at least ten square feet per resident bed.

b)	Provide a minimum of one comfortably furnished living room having a total window area of at least one-tenth the floor area.  Living room to have a minimum of ten square feet per resident bed.

c)	The living, dining, and activity rooms may be combined into one room, and the combined area of these rooms shall not be less than 20 square feet per resident bed.

(Source:  Amended at 13 Ill. Reg. 6040, effective April 17, 1989)