Section 370.2040  Plumbing

Each plumbing system shall comply with the "Illinois State Plumbing Code" (77 Ill. Adm. Code 890) and the rules promulgated thereunder effective at the time of construction and/or approved acceptance by the Department.