Section 370.2220  Codes and Standards

a)	Each facility shall comply with the applicable provisions of the following codes and standards:

1)	State of Illinois Codes and Standards

|  | Code or Standard | Agency |
| --- | --- | --- |
| A) | Ill. State Plumbing Code (1976) (77 Ill. Adm. Code 890) | Department of Public Health |
| B) | Accessibility Standards (June 1978) (77 Ill. Adm. Code 400) | Capital Development Board |
| C) | Rules for Food Service Sanitation (1975) (77 Ill. Adm. Code 750) | Department of Public Health |
| D) | State of Illinois Safety Glazing Materials Act, 1971 (Ill. Rev. Stat. 1981, ch. 111½, pars. 3101 et seq.) | State of Illinois Department of Labor |
| E) | Rules for Fire Prevention and Safety (41 Ill. Adm. Code 100) September 1983 | Office of State Fire Marshal Division of Fire Prevention |

2)	Other Codes and References

|  | Codes or Standards |  | Agency |
| --- | --- | --- | --- |
| A) | National Fire Protection Association |  | National Fire Protection Association |
|  | i) | NFPA l0 – 1978 edition, Standard for Portable Extinguishers |  |
|  | ii) | NFPA 70 – 1981 edition National Electric Code |  |
|  | iii) | NFPA 72 – 1975 edition, Local Protective Systems |  |
|  | iv) | NFPA 90A – 1978 edition, Air Conditioning and Ventilating Systems |  |
|  | v) | NFPA 220 – 1979 edition, Standard Types of Building Construction |  |
|  | vi) | NFPA 255 – 1979 edition, Test of Surface Burning Characteristics of Building Materials |  |
| B) | Underwriters' Laboratory, Inc. (UL) |  | Underwriters' Laboratories, Inc. |
|  | i) | Fire Resistance Index (All Editions) |  |
|  | ii) | Building Material Directory (All Editions) |  |
| C) | America Society for Testing and Materials (ASTM) Standard No. E-84-1977A Method of Test for Surface Burning Characteristics of Building Materials (as currently revised in NFPA 225-1979) |  | America Society for Testing and Materials |
| D) | Uniform Building Code (1976 Edition) |  | International Conference of Building Officials |

b)	In addition to compliance with the Standards set forth herein, all building codes, ordinances and regulations which are enforced by City, County or other local jurisdictions in which the facility is, or will be located must be observed.

c)	Where no local building code exists, the recommendations of the 1976 Edition of the "Uniform Building Code" shall apply.