Section 370.2250  Administration

a)	Facilities for the physically handicapped (public, staff) shall be provided in administration and public areas if these areas are located within the facility.

b)	Each facility shall provide sufficient space for clerical, financial and managerial functions.

c)	Each facility shall provide a toilet room with a water closet and a lavatory for staff and visitors.