Section 370.2310  Laundry Room

a)	Provide a laundry room equipped with appropriate and satisfactory type equipment of a design to meet the needs of the facility unless a commercial laundry is used.

b)	Laundry facilities shall not be located in rooms used for food storage, preparation, or serving.