Section 370.2420  Emergency Electrical System

An emergency electrical service, which may be battery operated if effective for four (4) or more hours, shall provide services as follows:

a)	Illumination of means of egress

b)	Fire detection and alarm system

c)	Telephone service

d)	Exit sign fixtures.