Section 370.2650  Administration and Public Areas

a)	Facilities for the physically handicapped (public, staff) shall be provided in administration and public areas if these are located within the facility.

b)	Each facility shall be provided with sufficient space for clerical, financial and managerial functions.

c)	Each facility shall be provided with a toilet room with a water closet and lavatory for staff and visitors.