Section 370.2690  Living, Dining Room, and Activity Room(s)

a)	These rooms shall be so located that the room is not an entrance vestibule from the out-of-doors, nor an obstruction to traffic in and out of the facility.

b)	Living Room

1)	Provide at least one (1) comfortably furnished living room on each floor.

2)	The minimum floor space for a living room shall be eighty (80) square feet.  The living room shall have a total window area of at least one-tenth (1/10) the floor area.

c)	Provide a dining room with sufficient area to properly and comfortably seat the residents it serves.

d)	The combined area of the living, dining, and activity rooms shall be not less than fifteen (15) square feet per resident bed.