Section 390.2430  Sewage Disposal

a)	All sewage and liquid wastes shall be discharged into a public sewage system when available. (B)

b)	When a public sewage system is not available, sewage and liquid wastes shall be collected, treated, and disposed of in a private sewage disposal system. The design, construction, maintenance, and operation of the system shall comply with the "Department's rules entitled "Private Sewage Disposal Code" (77 Ill. Adm. Code 905). (B)