Section 390.2440  Plumbing

Each plumbing system shall comply with the "Illinois Plumbing Code" and the rules promulgated thereunder (77 Ill. Adm. Code 890) effective at the time of construction and approved acceptance by the Department.

(Source:  Amended at 13 Ill. Reg. 6301, effective April 17, 1989)