Section 390.3010  Structural

a)	Buildings and all parts thereof shall be maintained structurally to support all dead, live and lateral loads. (B)

b)	Buildings shall be maintained in good repair. Buildings that show signs of distress shall be repaired immediately. (B)

(Source:  Amended at 13 Ill. Reg. 6301, effective April 17, 1989)