Section 450.320  Conformance to Local Ordinances

Laboratory quarters and facilities shall conform to all local building, safety, and fire codes or ordinances. Each initial license application and each license application for a change of location, shall be accompanied by a letter from the laboratory owner indicating that the laboratory has been inspected and approved by the local authorities to ensure that the laboratory meets the applicable building safety code; plumbing code, fire code, and ordinances, or by-laws. If there are no local codes, ordinances or by-laws relating to plumbing, the owner shall submit documentation that the laboratory premise has been inspected and approved by a State licensed plumber within the last year.

(Source:  Amended at 13 Ill. Reg. 11573, effective July 1, 1989)