Section 450.510  Facilities and Equipment

The laboratory must document that the physical facilities, equipment, and instruments are adequate for performance of tests for which the laboratory is requesting a license or permit.  (See Subpart C)

(Source:  Amended at 13 Ill. Reg. 11573, effective July 1, 1989)