Section 450.1130  Preventative and Corrective Maintenance Program

A preventive and corrective maintenance program shall be established which includes appropriate periodic inspection and testing of laboratory equipment.  The requirements are given in Subpart E.

(Source:  Amended at 13 Ill. Reg. 11573, effective July 1, 1989)