Section 515.400  General Communications

a)	All radios used by ambulance services shall:

1)	Have two-way ambulance-to-hospital communications capability on frequencies assigned by the Department;

2)	Use channel and tones assigned by the Department; and

3)	Use unit identifier numbers or other descriptive means of identification locally acceptable.

b)	All radio communications systems will require preliminary coordination with and recommendations from the Department.

c)	All pre-hospital care providers must provide information relative to the mechanism used for consumer access and dispatch of emergency vehicles within their respective service area.

d)	All hospitals participating in an EMS System or receiving emergency patients by ambulances must:

1)	Have two-way ambulance-to-hospital communications capability on a frequency determined and assigned by the Department; and

2)	Have two-way hospital-to-hospital communications capability.

e)	The use of cellular telephone technology is permitted provided that:

1)	The ambulance also has VHF or UHF radio back-up on a frequency assigned by the Department; and

2)	The permission of the EMS Resource Hospital is obtained.

(Source:  Amended at 48 Ill. Reg. 16159, effective November 1, 2024)