Section 515.APPENDIX P   Pediatric Critical Care Center (PCCC) Pediatric Equipment/Supplies/Medications Requirements

All of the following equipment/supplies/medications shall be immediately available within the PICU and pediatric unit:

AIRWAY

Cricothyrotomy capabilities (i.e., 10 g needle and 3.5 mm ET tube adapter or 14 g needle and 3.0 mm ET tube adapter)

Endotracheal tubes: Uncuffed or Cuffed (sizes 2.5, 3.0, 3.5, 4.0, 4.5, 5.0, 5.5, 6.0, 6.5, 7.0, 7.5, 8.0, 8.5) Stylets for endotracheal tubes (pediatric and adult)

Laryngoscope handle (pediatric and adult)

Laryngoscope blades (Curved 1, 2, 3; Straight or Miller 00, 0, 1, 2, 3)

Local anesthetic (i.e., lidocaine gel, cetacaine spray)

Magill forceps (pediatric and adult)

Oral airways (sizes 0, 1, 2, 3, 4, 5)

Tracheostomy collar

Tracheostomy tubes (pediatric sizes 3.0, 3.5, 4.0, 4.5, 5.0, 5.5 or ET may be substituted);

BREATHING

Bag-valve-mask device, self-inflating infant/child and adult with O2 reservoir and clear masks (neonatal through large adult sizes), and PEEP

C-PAP or BiPAP device

End-tidal PCO2 monitor and/or pediatric CO2 detector (disposable units may be substituted)

Flow meter Heated, humidified high flow oxygen

Masks, clear (neonatal, toddler, infant, child, medium adult)

Nasogastric tubes (sizes 6, 8, 10, 12, 14 Fr). NOTE: Cannot use feeding tubes as a substitute.

Nasopharyngeal airways (sizes 14, 16, 20, 24, 28, 30 Fr)

O2 Tank

O2 Blender

O2 connectors and spare O2 tubing

Partial non-rebreather O2 masks (neonatal, pediatric, adult)

PEEP valves

Pulse oximeter with child, infant and neonatal probes

Stethoscope

Suction supplies (bulb syringe, suction catheters sizes 6, 8, 10, 12, 14 Fr and Yankauer-tip catheter)

Tube thoracostomy tray and water seal drainage capacity with chest tubes (sizes 8-40 Fr)

Ventilator-respirator, pediatric

CIRCULATION

Arterial line monitoring capabilities (range of pediatric arterial catheter sizes; and transducers)

Blood collection tubes, culture bottles, arterial blood gas syringe

Butterfly needles (sizes 19, 21, 23, 25 g)

Cardiac resuscitation board

Catheter over needle IV access (sizes 16, 18, 20, 22, 24 g) Central venous catheters (sizes 3 – 7 Fr)*

CVP monitoring capabilities

Doppler device

ECG monitor-defibrillator/cardioverter with pediatric and adult sized paddles (and/or pads), with pediatric dosage settings and pediatric/adult pacing electrodes

Intraosseous needles or bone-marrow aspiration needles (one large and one small bore) or IO device (pediatric and adult sizes)

IV fluid/blood warmer

IV tubing and extension tubing

Infusion pumps, syringe pumps, or devices with microinfusion capability utilizing appropriate tubing and connectors

Needles (sizes 16, 18, 20, 22/23, 25; intracardiac needle 21 g, 1½ inch; filter needle)

Non-invasive blood pressure device (neonatal through adult cuffs)

Rapid infusion pumps

Sphygmomanometer with cuffs (newborn, infant, child, small adult, adult)

Stopcocks and medication transfer devices, i.e. T-connectors

Syringes (TB, insulin U100, 1 mL-20 mL and catheter tip)

Warming devices, age appropriate

MEDICATIONS

Access to the Illinois Poison Center 1-800-222-1222 through posting of the phone number at the nursing station or pre-programmed on unit phones List of resuscitation medication dosages at patient bedside (based on child's kilogram weight) Reference guide for appropriate sizing of equipment/supplies

Activated Charcoal

Adenosine

Albumin 5% and 25%

Amiodarone

AquaMEPHYTON

Atropine

Beta-agonist for inhalation

Beta Blockers, e.g. propanolol

Benzodiazepines, e.g., Lorazepam, Midazolam, Diazepam

Calcium Chloride 10%

Calcium Gluconate 10%

Dextrose 10%, 25% and 50%

Digitalis antibody

Digoxin

Diphenhydramine

Dobutamine

Dopamine

Epinephrine (1 mg/mL and 0.1 mg/mL)

Factor VIII, IX concentrate (pharmacy or blood bank)

Flumazenil

Furosemide

Glucagon

Insulin

IV solutions, standard crystalloid (D5W, D10W, D5/0.2 NS, D5/0.45 NS and 0.9 NS)

Kayexalate

Ketamine

Lidocaine

Magnesium sulfate

Mannitol or 3% Hypertonic Saline

Methylene blue

N-acetyl cysteine

Naloxone

Narcotics

Norepinephrine

Neuromuscular blocking agents (i.e., succinylcholine, pancuronium, vecuronium)

Oral rehydrating solution

Phenobarbital

Phenytoin and/or fosphenytoin

Potassium

Prostaglandin E1

Sodium Bicarbonate, 8.4% and 4.2%

Steroids – parenteral, e.g., Dexamethasone, Hydrocortisone, Methylprednisolone

Topical anesthetic agent

Vasopressin (DDAVP)

Whole bowel irrigation solution

MISCELLANEOUS

Lumbar puncture tray, including a selection of needles (size 18-22 g, 1½-3 inch needle)

Feeding tubes (8-14)

Foley catheters (sizes 6, 8, 10, 12 Fr)

Hypothermia thermometer with rectal probe (28°-42° C)

Otoscope/ophthalmoscope

Weighing scales (in kilograms only) for infants and children

(Source:  Amended at 48 Ill. Reg. 16159, effective November 1, 2024)