Section 527.700  Maintenance and Testing of Automated External Defibrillators

a)	The AED shall be maintained and tested according to the manufacturer's guidelines.

b)	The owner of the AED shall retain a copy of the maintenance and testing manual at the physical fitness facility and shall keep a copy of the manual with the AED.