Section 682.360  Equipment Needed

Each licensed hearing instrument dispenser/audiologist shall have equipment capable of performing the tests described in Section 682.300(a), (b), (c), (d), (e) and (f) of this Part.

(Source:  Amended at 35 Ill. Reg. 10312, effective June 17, 2011)