Section 730.5020  Sewage Disposal

Sewage disposal shall be made into an adequate sewerage system or disposed of through other adequate means.