Section 738.730  Potable Ice

If ice is used for any purpose in a manufacturing plant, it shall be manufactured from an approved water supply in an ice-making machine which is located, installed, operated and maintained so as to prevent contamination of the ice; or shall be obtained from an approved source. The ice shall be handled, transported and stored in such a manner as to be protected against contamination.  Block ice must have all outer surfaces thoroughly flushed with potable water before being used.  Any ice crusher used shall be maintained in a clean condition and shall be covered when not in use.  Ice handling utensils and equipment shall comply with Section 738.420.