Section 750.330  Waste Disposal

All sewage, including liquid waste, shall be disposed of according to law.