Section 760.220  Food Product Thermometers

Metal stem-type numerically scaled indicating thermometers, accurate to +2F shall be provided and used to assure attainment and maintenance of proper temperatures during preparation of all potentially hazardous foods.