Section 760.250  Displaying Frozen Foods

Foods intended for sale in a frozen state should be displayed at an air temperature of 0F or below, except for defrost cycles and brief periods of loading or unloading.  Frozen foods should be displayed below or behind product food lines according to cabinet manufacturers' specifications.