Section 760.510  Solder

If solder is used, it shall be composed of safe materials and be corrosion resistant.