Section 760.610  Ventilation Hoods

Ventilation hoods and devices, where installed, shall be designed to prevent grease or condensation from collecting on walls and ceilings, and from dripping into food or onto food-contact surfaces.  Filters or other grease extracting equipment shall be readily removable for cleaning and replacement, if not designed to be cleaned in place.