Section 760.910  Water Delivery

All potable water not provided to the retail food store directly from the source by pipe shall be delivered in a bulk water transport system and shall be transferred to a closed water system.  Both of these systems shall be constructed, maintained, and operated according to law.