Section 760.920  Water Under Pressure

Water under pressure at the required temperatures shall be provided to all fixtures and equipment that use water.