Section 760.940  General - Sewage

All sewage, including liquid waste, shall be disposed of by a public sewerage system or by a sewage disposal system constructed, maintained, and operated according to law.  Nonwater carried sewage disposal facilities are prohibited, except for pick up by licensed scavengers or for burial in a land fill.