Section 760.950  General - Plumbing

Plumbing shall be sized, installed, and maintained according to law.  There shall be no cross-connection between the potable water supply and any other system containing:

a)	Water of unknown or questionable origin, or

b)	Contaminating or polluting substances.