Section 760.980  Grease Traps

Grease traps, if used, shall be located to be easily accessible for cleaning.