Section 760.990  Garbage Grinders

Garbage grinders, if used, shall be installed and maintained according to law.