Section 760.1270  Exposed Construction of Walls and Ceilings

Studs, joists, and rafters shall not be exposed in those areas listed in Section 760.1260 of this Part.  If exposed in other rooms or areas, they shall be finished to provide a cleanable surface.