Section 760.1290  Attachments to Walls and/or Ceilings

Light fixtures, vent covers, wall mounted fans, decorative materials, and similar attachments to walls and ceilings shall be easily cleanable and shall be maintained in good repair.