Section 785.509  Repackaging Room

A separate room shall be provided for the filling of small packages and shall meet the same requirements for construction and facilities as the bulk packaging operation (See Section 785.503).