Section 795.100  Report of Changes

a)	The facility owner shall notify the Department in writing before making any change that would render the information in the application, reported pursuant to Section 795.60, no longer accurate.  This requirement shall not apply to changes involving replacement of the original equipment lamp types that have been determined to be compliant or lamps designed to meet the criteria as being "compatible" with the provisions set forth in 21 CFR 1040.20.

b)	The facility owner shall maintain, at the facility, manufacturer's literature or federal Food and Drug Administration certification demonstrating the equivalency of any replacement lamps.

c)	The facility shall maintain a log noting the date of installation, the location in the unit, and a description (lamp name, model or serial designation) of all replacement lamps in each piece of tanning equipment.

(Source:  Amended at 38 Ill. Reg. 23142, effective November 24, 2014)