Section 800.540  Sewer Risers

Sewer risers and laterals serving individual camp spaces shall be at least four inches inside diameter (I.D.) water tight piping.  Risers at unoccupied spaces shall be sealed with a tight-fitting cap or plug.

(Source:  Amended at 10 Ill. Reg. 11076, effective July 1, 1986)