Section 820.110  Water Supplies

a)	The water supply for drinking, showers, bathing, culinary purposes and the swimming facility proper shall be obtained from a community water system in compliance with the Illinois Environmental Protection Agency's rules for Public Water Supplies, a non-community public water supply in compliance with the Department's Drinking Water Systems Code, or a semi-private water supply in compliance with the Department's Public Area Sanitary Practice Code.

b)	The water supply used for filling a swimming facility shall be capable of providing enough water to raise the water level in the facility at least 1 inch in three hours.

(Source:  Amended at 37 Ill. Reg. 16539, effective October 4, 2013)