Section 860.260  Fuel Supply

The distribution, storage, and use of natural gas, liquefied petroleum gas, fuel oil, or other fuels shall be in accordance with the following:

a)	The National Fire Protection Association's Installation of Oil Burning Equipment, 2016 Edition. (Type A Violation)

b)	The National Fire Protection Association's National Fuel Gas Code, 2015 Edition. (Type A Violation)

c)	The National Fire Protection Association's Liquefied Petroleum Gas Code, 2014 Edition. (Type A Violation)

d)	The United States Department of Transportation's Pipeline Safety Regulations.

(Source:  Amended at 43 Ill. Reg. 2558, effective February 6, 2019)