Section 860.390  Duplex Units

Duplex manufactured homes located in a manufactured home community must have separate water, sewer and electrical services for each resident and a one-hour, fire-rated assembly shall separate the units.  Sites with a duplex unit shall be considered as two sites for licensure purposes. (Type A Violation)

(Source:  Amended at 43 Ill. Reg. 2558, effective February 6, 2019)