Section 860.TABLE C   Minimum Size and Slope of Sewer Mains

| Inside |  |  |
| --- | --- | --- |
| Number of Sites | (Inches) | Minimum Slope |
| 1-125 | 6 | 0.75% |
| more than 125 | 8 | 0.40% |