SUBPART A:  DEFINITIONS AND GENERAL PROVISIONS

Section

890.110	Applicability

890.120	Definitions

890.130	Incorporated and Referenced Materials

890.140	Compliance with this Part

890.150	Workmanship

890.160	Used Plumbing Material, Equipment, Fixtures

890.170	Sewer and/or Water Required

890.180	Sewer and Water Pipe Installation

890.190	Piping Measurements

890.200	Operation of Plumbing Equipment

SUBPART B:  PLUMBING MATERIALS

Section

890.210	Materials

890.220	Identification (Repealed)

890.230	Safe Pan Material and Construction

SUBPART C:  JOINTS AND CONNECTIONS

Section

890.310	Tightness

890.320	Types of Joints

890.330	Special Joints

890.340	Use of Joints

890.350	Unions

890.360	Water Closet and Pedestal Urinal

890.370	Prohibited Joints and Connections in Drainage Systems

890.380	Increasers and Reducers

SUBPART D:  TRAPS AND CLEANOUTS

Section

890.410	Fixture Traps/Continuous Waste

890.420	Pipe Cleanouts

890.430	Cleanout Equivalent

890.440	Acid-Proof Traps

SUBPART E:  INTERCEPTORS − SEPARATORS AND BACKWATER VALVES

Section

890.510	Grease Interceptor Requirements

890.520	Gasoline, Oil and Flammable Liquids

890.530	Special Waste Interceptors

890.540	Laundries (Repealed)

890.550	Backwater Valves − Sanitary System and Storm System (Repealed)

SUBPART F:  PLUMBING FIXTURES

Section

890.610	General Requirements − Material and Design

890.620	Overflows

890.630	Installation

890.640	Prohibited Fixtures

890.650	Water Closets

890.660	Urinals

890.670	Strainers and Fixture Outlets

890.680	Lavatories

890.690	Shower Receptors and Compartments

890.700	Sinks

890.710	Food Waste Disposal Units

890.720	Drinking Fountains

890.730	Floor Drains/Trench Drains

890.740	Kidney Dialysis Machines

890.745	Dental Units

890.750	Hydromassage/Whirlpool Bathtubs

890.760	Pressure Type Water Treatment Units

890.770	Dishwashing Machines

890.780	Garbage Can Washers

890.790	Laundry Trays/Sinks and Drains

890.800	Special Fixtures and/or Items Designed for a Particular Purpose

890.810	Minimum Number of Plumbing Fixtures

890.820	Outside Kiosks Serving Food

SUBPART G:  HANGERS, ANCHORS AND SUPPORTS

Section

890.910	Hangers, Anchors and Supports

890.920	Vertical Piping

890.930	Horizontal Piping

SUBPART H:  INDIRECT WASTE PIPING, SPECIAL WASTE

Section

890.1010	Indirect Waste Piping

890.1020	Material and Size

890.1030	Length and Grade

890.1040	Air Gaps

890.1050	Receptors

890.1060	Special Wastes and Chemical Wastes

SUBPART I:  WATER SUPPLY AND DISTRIBUTION

Section

890.1110	Quality of Water Supply

890.1120	Color Code

890.1130	Protection of Potable Water

890.1140	Special Applications and Installations

890.1150	Water Service Pipe Installation

890.1160	Potable Water Pumping and Storage Equipment

890.1170	Potable Water Supply Tanks and Auxiliary Pressure Tanks

890.1180	Flushing/Disinfection of Potable Water System

890.1190	Water Supply Control Valves and Meter

890.1200	Water Service Sizing

890.1210	Design of a Building Water Distribution System

890.1220	Hot Water Supply and Distribution

890.1230	Safety Devices

890.1240	Miscellaneous

SUBPART J:  DRAINAGE SYSTEM

Section

890.1310	Materials

890.1320	Drainage System Installation

890.1330	Drainage Fixture Units (DFUs)

890.1340	Determination of Sizes for Drainage System

890.1350	Offsets in Drainage Piping

890.1360	Sanitary Wastes below Sewer

890.1370	Floor Drains

890.1380	Storm Water Drainage within a Building

SUBPART K:  VENTS AND VENTING

Section

890.1410	Materials

890.1420	Stack Vents, Vent Stacks, Main Vents

890.1430	Vent Terminals

890.1440	Vent Terminal Size (Repealed)

890.1450	Vent Grades and Connections

890.1460	Fixtures Back-to-Back (Repealed)

890.1470	Fixture Trap Vents

890.1480	Types of Fixture Trap Vents

890.1490	Installation of Vents for Fixture Traps (Repealed)

890.1500	Installation of Wet Venting

890.1510	Stack Venting (Repealed)

890.1520	Circuit and Loop Venting

890.1530	Pneumatic Ejectors

890.1540	Relief Vents

890.1550	Offsets at an Angle Less than 45 Degrees from the Horizontal in Buildings of Five or More Stories

890.1560	Main Vents to Connect at Base (Repealed)

890.1570	Vent Headers

890.1580	Size and Length of Vents

890.1590	Combination Waste and Vent (Floor and Hub Drains Only)

890.1600	Special Venting for Island Fixtures

SUBPART L:  PLUMBING SYSTEMS/CORRECTIONAL FACILITIES

Section

890.1710	General Requirements

890.1720	Water Closets

890.1730	Urinals

890.1740	Combination Lavatory/Toilet

890.1750	Service Sinks/Lavatory

890.1760	Sinks

890.1770	Cabinet Showers

890.1780	Flush Valves

890.1790	Soap Dishes

890.1800	Floor Drains

SUBPART M:  INSPECTIONS, TESTS, MAINTENANCE, AND ADMINISTRATION

Section

890.1910	Inspections

890.1920	Testing of Plumbing Systems

890.1930	Test Methods

890.1940	General Administration

890.1950	Violations

890.APPENDIX A	Plumbing Materials, Equipment, Use Restrictions and Applicable Standards

890.TABLE A	Approved Materials and Standards

890.TABLE B		Minimum Number of Plumbing Fixtures

890.TABLE C		Minimum Air Gaps for Plumbing Fixtures

890.TABLE D		Minimum Water Distribution Pipe Size

890.TABLE E		Drainage Fixture Units  Per Fixture Group

890.TABLE F		Fixtures Not Listed in Table E

890.TABLE G		Building Drains

890.TABLE H		Horizontal Fixture Branches and Stacks

890.TABLE I		Allowed Distance from Fixture Trap to Vent

890.TABLE J		Size of Vent Stacks

890.TABLE K		Size and Length of Vents

890.TABLE L		Horizontal Circuit and Loop Vent Sizing Table

890.TABLE M	Load Values Assigned to Fixtures

890.TABLE N	Water Supply Fixture Units (WSFUs) for a Supply System with Flush Tanks Water Closets

890.TABLE O	Water Supply Fixture Units (WSFUs) for a Supply System with Flushometer Water Closets

890.TABLE P		Demand at Individual Water Outlets

890.TABLE Q	Allowance in Equivalent Length of Pipe for Friction Loss in Valves and Fittings

890.APPENDIX B	Illustrations for Subpart A

890.ILLUSTRATION A	Air Gap Drawing #1

890.ILLUSTRATION B	Air Gap Drawing #2

890.ILLUSTRATION C	Battery of Fixtures

890.ILLUSTRATION D	Branch

890.ILLUSTRATION E	Branch Vent

890.ILLUSTRATION F	Building Drain

890.ILLUSTRATION G	Building Sub-drain

890.ILLUSTRATION H	Circuit Vent

890.ILLUSTRATION I	Common Vent

890.ILLUSTRATION J	Continuous Vent

890.ILLUSTRATION K	Dead End

890.ILLUSTRATION L	Drain

890.ILLUSTRATION M	Fixture Drain

890.ILLUSTRATION N	Flush Valve (Repealed)

890.ILLUSTRATION O	Grade

890.ILLUSTRATION P	Horizontal Branch

890.ILLUSTRATION Q	Main Vent

890.ILLUSTRATION R	Quarter Bend (Repealed)

890.ILLUSTRATION S	Relief Vent

890.ILLUSTRATION T	Return Offset (Repealed)

890.ILLUSTRATION U	Revent Pipe

890.ILLUSTRATION V	Stack Vent

890.ILLUSTRATION W	Trap

890.ILLUSTRATION X	Vent Stack (Repealed)

890.ILLUSTRATION Y	Wet Vent

890.ILLUSTRATION Z	Yoke Vent

890.ILLUSTRATION AA	Sleeves

890.ILLUSTRATION BB	Buried Piping Parallel to Footing

890.ILLUSTRATION CC	Individual Dry Vent

890.APPENDIX C	Illustrations for Subpart C

890.ILLUSTRATION A	Caulked Joints

890.ILLUSTRATION B	Flared Joints

890.ILLUSTRATION C	Positions of Application for Compression Type Joints

890.APPENDIX D	Illustrations for Subpart D

890.ILLUSTRATION A	Fixture Traps

890.ILLUSTRATION B	Distance of Trap to Fixture

890.ILLUSTRATION C	Types of Traps

890.ILLUSTRATION D	Trap Cleanouts

890.ILLUSTRATION E	Prohibited Traps

890.ILLUSTRATION F	Underground Drainage

890.ILLUSTRATION G	Concealed Piping

890.ILLUSTRATION H	Cleanout Clearance

890.APPENDIX E	Illustrations for Subpart E

890.ILLUSTRATION A	Grease Interceptor

890.ILLUSTRATION B	Typical Grease Interceptor/Catch Basin

890.ILLUSTRATION C	Interceptor/Separator Vents

890.ILLUSTRATION D	Interceptors for Bottling Plants (Repealed)

890.ILLUSTRATION E	Laundry Interceptors (Repealed)

890.ILLUSTRATION F	Backwater Valve Location (Repealed)

890.APPENDIX F	Illustrations for Subpart F

890.ILLUSTRATION A	Prohibited Fixtures

890.ILLUSTRATION B	Circular Wash Sinks

890.ILLUSTRATION C	Commercial Type Grinder #1 (Repealed)

890.ILLUSTRATION D	Commercial Type Grinder

890.ILLUSTRATION E	Protective Guard

890.ILLUSTRATION F	Trap and Strainer

890.APPENDIX G	Illustrations for Subpart G

890.ILLUSTRATION A	Cast Iron Soil Pipe Support #1

890.ILLUSTRATION B	Cast Iron Soil Pipe Support #2

890.ILLUSTRATION C	Horizontal Piping Support (Repealed)

890.ILLUSTRATION D	Cast Iron Soil Stack Support (Repealed)

890.APPENDIX H	Illustrations for Subpart H

890.ILLUSTRATION A	Indirect Waste Piping #1

890.ILLUSTRATION B	Indirect Waste Piping #2

890.ILLUSTRATION C	Indirect Waste Piping #3

890.ILLUSTRATION D	Indirect Waste Piping #4

890.ILLUSTRATION E	Indirect Waste Connection

890.ILLUSTRATION F	Air Gaps

890.APPENDIX I	Illustrations for Subpart I

890.ILLUSTRATION A	Cross-Connection #1

890.ILLUSTRATION B	Cross-Connection #2

890.ILLUSTRATION C	Cross-Connection #3

890.ILLUSTRATION D	Flushometer Valve

890.ILLUSTRATION E	Underground Water Piping #1

890.ILLUSTRATION F	Underground Water Piping #2

890.ILLUSTRATION G	Underground Water Piping #3

890.ILLUSTRATION H	Water Supply Control

890.ILLUSTRATION I	Shut-Off Valve at Meter

890.ILLUSTRATION J	Separate Controls for Each Family Unit

890.ILLUSTRATION K	Shut-Off Valves in Buildings Other Than Dwellings

890.ILLUSTRATION L	Typical Gas Water Heater

890.ILLUSTRATION M	Typical Electric Water Heater

890.ILLUSTRATION N	P & T Valve Installed in Hot Outlet Line

890.ILLUSTRATION O	P & T Relief Valve

890.APPENDIX J	Illustrations for Subpart J

890.ILLUSTRATION A	Dead Ends

890.ILLUSTRATION B	Horizontal to Vertical Change of Direction

890.ILLUSTRATION C	Horizontal to Horizontal Change of Direction

890.ILLUSTRATION D	Vertical to Horizontal Change of Direction

890.ILLUSTRATION E	Fixture Connections

890.ILLUSTRATION F	Waste Stacks

890.ILLUSTRATION G	Offsets on Drainage Piping

890.ILLUSTRATION H	Relief Vent

890.ILLUSTRATION I	Above Highest Branch

890.ILLUSTRATION J	Below Lowest Branch

890.ILLUSTRATION K	Drainage Below Sewer Level

890.ILLUSTRATION L	Sanitary Wastes Below Sewer (Repealed)

890.APPENDIX K	Illustrations for Subpart K

890.ILLUSTRATION A	Installation of Vent Stack or Main Vent

890.ILLUSTRATION B	Vent Terminal

890.ILLUSTRATION C	Main Vent

890.ILLUSTRATION D	Roof Extensions

890.ILLUSTRATION E	Location of Vent Terminal

890.ILLUSTRATION F	Vent Grade and Vertical Rise

890.ILLUSTRATION G	Vertical Rise

890.ILLUSTRATION H	Height Above Fixtures

890.ILLUSTRATION I	Heel or Side-Inlet

890.ILLUSTRATION J	Heel or Side-Inlet (Repealed)

890.ILLUSTRATION K	Fixtures Back-to-Back and Side-by-Side (Repealed)

890.ILLUSTRATION L	Distance from Trap to Vent

890.ILLUSTRATION M	Trap Vent

890.ILLUSTRATION N	Trap Weir/Hydraulic Gradient

890.ILLUSTRATION O	Common Vent

890.ILLUSTRATION P	Vertical Wet Vent

890.ILLUSTRATION Q	Horizontal Wet Vent

890.ILLUSTRATION R	Vertical/Horizontal Wet Vent

890.ILLUSTRATION S	Single Bathroom Group Venting

890.ILLUSTRATION T	Bathroom Group Back to Back

890.ILLUSTRATION U	Bathroom Groups − Plan

890.ILLUSTRATION V	Bathroom Groups − Elevation

890.ILLUSTRATION W	One Bathroom Group − Plan

890.ILLUSTRATION X	One Bathroom Group − Elevation (Repealed)

890.ILLUSTRATION Y	Battery Venting

890.ILLUSTRATION Z	Dual Branches

890.ILLUSTRATION AA	Right and Wrong Vent Connections

890.ILLUSTRATION BB	Fixtures Back-to-Back in Battery

890.ILLUSTRATION CC	Fixture Connections − Offset Vents

890.ILLUSTRATION DD	Circuit Vented Fixtures

890.ILLUSTRATION EE	Vent Stacks

890.ILLUSTRATION FF	Combination Waste and Vent

890.ILLUSTRATION GG	Special Venting for Island Fixtures