Section 890.310  Tightness

Joints and Connections.  Joints and connections shall be gas-tight and water-tight.