Section 890.820  Outside Kiosks Serving Food

a)	General Plumbing.  All plumbing shall be sized, installed and maintained in accordance with applicable provisions of this Part.

b)	General Restrooms.  Restrooms for employees shall be provided and accessible to employees at all times.  If a restroom is not located within the building, then there shall be an accessible and available restroom within 300 feet of the building.

(Source:  Added at 28 Ill. Reg. 4215, effective February 18, 2004)