Section 890.1030  Length and Grade

a)	Maximum Length.  The maximum developed length of the indirect waste of any sanitary waste line shall not exceed 5 feet.

b)	Grade.  Indirect waste pipes shall be installed at a uniform grade, in compliance with Section 890.1320(f), (g) and (h).

(Source:  Amended at 28 Ill. Reg. 4215, effective February 18, 2004)